## Slide 1
So you Want to use
Motic Images Plus
Dazzle your students!
Impress that special someone!
Earn millions!

## Slide 2
Get Started:
Open the program by clicking on this icon

## Slide 3
The Main Screen:

## Slide 4
The File Tab:
Click to get the live feed from your ‘scope

## Slide 5
Enable all “auto” options for best picture quality.

## Slide 6
Capture still pictures or video. Just click!
Or right-click the live image to capture.

## Slide 7
The File Tab:
Click to compare two previously-captured images side-by-side

## Slide 8
Drag images into comparison window to view them.

## Slide 9
The File Tab:
See where all your captured images are saved

## Slide 10
The File Tab:
Adjust auto-capture settings, and the file type of your captures.

## Slide 11
Set file type
Auto capture frequency

## Slide 12
The Edit Tab:
Same functions as in Microsoft word…

## Slide 13
The Edit Tab:
Put a shape around a part of your image to point it out to students

## Slide 14
The Image Tab:
Adjust color settings

## Slide 15
The Image Tab:
Reverses colors for better contrast

## Slide 16
The Image Tab:
Add filters to count cells, increase contrast, view organelles…

## Slide 17
The Measure Tab:
Different shapes you can measure.

## Slide 18
The Measure Tab:
First, you must tell your computer how many micrometers there are in one pixel.

## Slide 19
Load an image you’ve taken of a calibration slide.

## Slide 20
Indicate what objective you’re using and how big the circle is. Click “Calibrate.”

## Slide 21
Name your settings so you can recall them. Select “scale.” Click “save.”

## Slide 22
Open the calibration table.
Select your objective lens and click “OK”

## Slide 23
Select a measurement tool and measure away!

## Slide 24
Questions?